## AS-BUILT vs DESIGN
LLAMAS Prototype Blue Camera optics -- Design vs. As-Built comparison | [8 empty] | these fields have different units (um instead of fringes for irregularity of ASPheres; fringes of power for radius instead of mm)
these fields are out of the proposed tolerance range
STAT
|  | L1 - fr. ASP | L1 - rea PL | L2 - front | L2 - rear | L3 - front | L3 - rear | L4 - front | L4 - rear PL | L5 - fr. PL | L5 - rear | L6 - front | L6 - rear | L7 - front | L7 - rear PL | L8 - front | L8 - rea ASP
Radius [mm] | nominal | 110.446 | 6 | 91.221 | 177.446 | 512.67 | 100.957 | 84.97 | 6 | 6 | 153.566 | 111.392 | 108.689 | 108.689 | 6 | 304.071 | 67.687 | SP rad AVE | SP rad RMS | PL rad AVE | PL rad RMS
| as-built | 110.446 | 0.796 | 91.225 | 177.491 | 512.52 | 100.952 | 84.975 | 3.784 | 0.567 | 153.578 | 111.398 | 108.699 | 108.671 | 1.263 | 303.973 | 67.687 |  |  | 1.6025 | 1.4829 | [fr]
| diff. | 0 | 5.204 | 0.004 | 0.045 | -0.15 | -0.005 | 0.005 | 2.216 | 5.433 | 0.012 | 0.006 | 0.01 | -0.018 | 4.737 | -0.098 | 0 | -0.002497% | 0.01827% |  |  | [%]
Irregularity [fr] | nominal | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 1 | SP irr AVE | SP irr RMS | ASP irr AVE | ASP irr RMS
| as-built | 0.783 | 0.382 | 0.549 | 0.364 | 0.296 | 0.213 | 0.177 | 0.235 | 0.236 | 0.353 | 0.269 | 0.409 | 0.175 | 0.387 | 0.571 | 1.035 | 0.32971 | 0.1252 | 0.909 | 0.17819 | [fr]
| margin | 0.217 | 0.368 | 0.201 | 0.386 | 0.454 | 0.537 | 0.573 | 0.515 | 0.514 | 0.397 | 0.481 | 0.341 | 0.575 | 0.363 | 0.179 | -0.035
Roughness [A] | nominal | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | SP rough AVE | SP rough RMS | ASP rough AVE | ASP rough RMS
| as-built | 8.036 | 4.248 | 4.266 | 3.493 | 4.682 | 4.146 | 3.656 | 3.9 | 4.565 | 7.14 | 4.591 | 5.349 | 3.351 | 4.008 | 5.29 | 5.248 | 4.4775 | 0.97054 | 6.642 | 1.9714 | [A]
| margin | 1.964 | 5.752 | 5.734 | 6.507 | 5.318 | 5.854 | 6.344 | 6.1 | 5.435 | 2.86 | 5.409 | 4.651 | 6.649 | 5.992 | 4.71 | 4.752
Central Thick. [mm] | nominal | 10 |  | 4 |  | 20 |  | 25 |  | 5 |  | 8 |  | 24 |  | 6
| as-built | 10.069 |  | 4.064 |  | 20.077 |  | 25.032 |  | 5.053 |  | 8.074 |  | 24.075 |  | 6.055 |  | AVE | RMS
| diff. | 0.069 |  | 0.064 |  | 0.077 |  | 0.032 |  | 0.053 |  | 0.074 |  | 0.075 |  | 0.055 |  | 0.062375 | 0.015212 | [mm]
Diameter [mm] | nominal | 70 |  | 70 |  | 98 |  | 94.9 |  | 95 |  | 69.9 |  | 70 |  | 60
| as-built | 70 |  | 70.009 |  | 98.002 |  | 94.9 |  | 95.003 |  | 69.01 |  | 70.014 |  | 60.012 |  | AVE | RMS
| diff. | 0 |  | 0.009 |  | 0.002 |  | 0 |  | 0.003 |  | -0.89 |  | 0.014 |  | 0.012 |  | 0.0057143 | 0.0058513 | [mm]
EDT [mm] | nominal | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  | AVE | RMS
| as-built | 0.004 |  | 0.002 |  | 0.001 |  | 0.006 |  | 0.005 |  | 0.005 |  | 0.006 |  | 0.003 |  | 0.004 | 0.0018516 | [mm]
| margin | 0.006 |  | 0.008 |  | 0.009 |  | 0.004 |  | 0.005 |  | 0.005 |  | 0.004 |  | -0.007
SAG [mm] if applicable | nominal | n/a | n/a | 6.178 | n/a |  | n/a | n/a | n/a | n/a | 6 |  | n/a |  | n/a | 1.029 | 4.2
| as-built | n/a | n/a | 6.182 | n/a |  | n/a | n/a | n/a | n/a | 6.08 |  | n/a |  | n/a | 1.036 | 4.273 | AVE | RMS
| diff. |  |  | 0.004 | [6 empty] | 0.08 |  |  |  |  | 0.007 | 0.073 | 0.041 | 0.043039 | [mm]
OAH [mm] if applicable | nominal | n/a |  | n/a |  | 17 |  | n/a |  | 11 |  | n/a |  | n/a |  | 11.23
| as-built | n/a |  | n/a |  | 17.007 |  | n/a |  | 11.133 |  | n/a |  | n/a |  | 11.364
| diff. |  |  |  |  | 0.007 |  |  |  | 0.133 | [5 empty] | 0.134
SFRO [mm] (Surface to Flat RunOut) | nominal | 0.01 | n/a | n/a | 0.02 | n/a | 0.02 | 0.01 | n/a | n/a | 0.02 | n/a | n/a | 0.01 | n/a | n/a | 0.02 | AVE | RMS
| as-built | 0.004 | n/a | n/a | 0.002 | n/a | 0.002 | 0.006 | n/a | n/a | 0.004 | n/a | n/a | 0.006 | n/a | n/a | 0.003 | 0.0038571 | 0.0017889 | [mm]
| margin | 0.006 |  |  | 0.018 |  | 0.018 | 0.004 |  |  | 0.016 |  |  | 0.004 |  |  | 0.017
PV max/min [fringes] FRONT | max/min | 0.389 | -0.394 | 0.363 | -0.186 | 0.138 | -0.158 | 0.0905 | -0.0867 | 0.1064 | -0.1294 | 0.0811 | -0.1878 | 0.0879 | -0.1068 | 0.4035 | -0.1678
PV max/min [fringes] REAR | max/min | 0.213 | -0.169 | 0.198 | -0.166 | 0.091 | -0.123 | 0.0801 | -0.155 | 0.2247 | 0.1281 | 0.2724 | 0.1363 | 0.1166 | 0.2707 | 2.0863 | -1.1843
Mid-Spatial max/min [um] for Asphere, and RMS value [um] | max/min | 0.131 | -0.119 | [12 empty] | 1.2377 | -0.9637
| RMS | 0.029 | [13 empty] | 0.162
Coating Run # |  | H-2677C | H-2681C | H-2666C | H-2671C | H-2677C | H-2681C | H-2677C | n/a | n/a | H-2666C | H-2675C | n/a | n/a | H-2677C | H-2677C | H-2681C | SUM | overall AR coating performance (all coated surfaces)
Coating Perfroamnce: Reflection [%] | 340 | 1.641% | 1.629% | 1.096% | 1.383% | 1.641% | 1.629% | 1.641% |  |  | 1.096% | 1.553% |  |  | 1.641% | 1.641% | 1.629% | 83.22%
| 360 | 0.4009% | 0.4461% | 0.04928% | 0.1373% | 0.4009% | 0.4461% | 0.4009% |  |  | 0.04928% | 0.2764% |  |  | 0.4009% | 0.4009% | 0.4461% | 96.21%
| 380 | 0.1908% | 0.2551% | 0.2202% | 0.1057% | 0.1908% | 0.2551% | 0.1908% |  |  | 0.2202% | 0.06114% |  |  | 0.1908% | 0.1908% | 0.2551% | 97.7%
| 400 | 0.2827% | 0.3419% | 0.6139% | 0.3904% | 0.2827% | 0.3419% | 0.2827% |  |  | 0.6139% | 0.1635% |  |  | 0.2827% | 0.2827% | 0.3419% | 95.86%
| 420 | 0.361% | 0.4109% | 0.8365% | 0.5695% | 0.361% | 0.4109% | 0.361% |  |  | 0.8365% | 0.2744% |  |  | 0.361% | 0.361% | 0.4109% | 94.58%
| 440 | 0.3793% | 0.4179% | 0.8412% | 0.5883% | 0.3793% | 0.4179% | 0.3793% |  |  | 0.8412% | 0.3276% |  |  | 0.3793% | 0.3793% | 0.4179% | 94.4%
| 460 | 0.3414% | 0.3628% | 0.6872% | 0.4867% | 0.3414% | 0.3628% | 0.3414% |  |  | 0.6872% | 0.355% |  |  | 0.3414% | 0.3414% | 0.3628% | 95.1%
| 480 | 0.2918% | 0.3037% | 0.4801% | 0.3566% | 0.2918% | 0.3037% | 0.2918% |  |  | 0.4801% | 0.393% |  |  | 0.2918% | 0.2918% | 0.3037% | 96%
| 500 | 0.2657% | 0.265% | 0.2889% | 0.2474% | 0.2657% | 0.265% | 0.2657% |  |  | 0.2889% | 0.4843% |  |  | 0.2657% | 0.2657% | 0.265% | 96.62%
| 520 | 0.2868% | 0.272% | 0.1766% | 0.2134% | 0.2868% | 0.272% | 0.2868% |  |  | 0.1766% | 0.6447% |  |  | 0.2868% | 0.2868% | 0.272% | 96.59%
| 540 | 0.3661% | 0.3377% | 0.1602% | 0.268% | 0.3661% | 0.3377% | 0.3661% |  |  | 0.1602% | 0.8796% |  |  | 0.3661% | 0.3661% | 0.3377% | 95.77%
| 560 | 0.503% | 0.4608% | 0.2444% | 0.4186% | 0.503% | 0.4608% | 0.503% |  |  | 0.2444% | 1.183% |  |  | 0.503% | 0.503% | 0.4608% | 94.17%
| 580 | 0.693% | 0.638% | 0.4299% | 0.6542% | 0.693% | 0.638% | 0.693% |  |  | 0.4299% | 1.541% |  |  | 0.693% | 0.693% | 0.638% | 91.88%
R_avg on 350-570nm [%] |  | 0.34 | 0.36 | 0.42 | 0.35 | 0.34 |  | 0.34 |  |  | 0.42 | 0.47 |  |  | 0.34 | 0.34 | 0.36
DOUBLET OAH [mm] | nominal | [7 empty] | 36 |  |  |  | 32
| as-built | [7 empty] | 36.199 |  |  |  | 32.164
| diff. | [7 empty] | 0.199 |  |  |  | 0.164
DOUBLET SFRO [mm] | nominal | [7 empty] | 0.025 |  |  |  | 0.025
| as-built | [7 empty] | 0.002 |  |  |  | 0.002
| margin | [7 empty] | 0.023 |  |  |  | 0.023
cement thickness | [mm] | [7 empty] | 0.028 |  |  |  | 0.015
| 340 | 0.98359 | 0.98371 | 0.98904 | 0.98617 | 0.98359 | 0.98371 | 0.98359 | 1 | 1 | 0.98904 | 0.98447 | 1 | 1 | 0.98359 | 0.98359 | 0.98371 | 0.83224
| 360 | 0.99599 | 0.99554 | 0.99951 | 0.99863 | 0.99599 | 0.99554 | 0.99599 | 1 | 1 | 0.99951 | 0.99724 | 1 | 1 | 0.99599 | 0.99599 | 0.99554 | 0.96211
| 380 | 0.99809 | 0.99745 | 0.9978 | 0.99894 | 0.99809 | 0.99745 | 0.99809 | 1 | 1 | 0.9978 | 0.99939 | 1 | 1 | 0.99809 | 0.99809 | 0.99745 | 0.97698
| 400 | 0.99717 | 0.99658 | 0.99386 | 0.9961 | 0.99717 | 0.99658 | 0.99717 | 1 | 1 | 0.99386 | 0.99836 | 1 | 1 | 0.99717 | 0.99717 | 0.99658 | 0.95859
| 420 | 0.99639 | 0.99589 | 0.99164 | 0.99431 | 0.99639 | 0.99589 | 0.99639 | 1 | 1 | 0.99164 | 0.99726 | 1 | 1 | 0.99639 | 0.99639 | 0.99589 | 0.94583
| 440 | 0.99621 | 0.99582 | 0.99159 | 0.99412 | 0.99621 | 0.99582 | 0.99621 | 1 | 1 | 0.99159 | 0.99672 | 1 | 1 | 0.99621 | 0.99621 | 0.99582 | 0.94399
| 460 | 0.99659 | 0.99637 | 0.99313 | 0.99513 | 0.99659 | 0.99637 | 0.99659 | 1 | 1 | 0.99313 | 0.99645 | 1 | 1 | 0.99659 | 0.99659 | 0.99637 | 0.95101
| 480 | 0.99708 | 0.99696 | 0.9952 | 0.99643 | 0.99708 | 0.99696 | 0.99708 | 1 | 1 | 0.9952 | 0.99607 | 1 | 1 | 0.99708 | 0.99708 | 0.99696 | 0.95995
| 500 | 0.99734 | 0.99735 | 0.99711 | 0.99753 | 0.99734 | 0.99735 | 0.99734 | 1 | 1 | 0.99711 | 0.99516 | 1 | 1 | 0.99734 | 0.99734 | 0.99735 | 0.9662
| 520 | 0.99713 | 0.99728 | 0.99823 | 0.99787 | 0.99713 | 0.99728 | 0.99713 | 1 | 1 | 0.99823 | 0.99355 | 1 | 1 | 0.99713 | 0.99713 | 0.99728 | 0.96592
| 540 | 0.99634 | 0.99662 | 0.9984 | 0.99732 | 0.99634 | 0.99662 | 0.99634 | 1 | 1 | 0.9984 | 0.9912 | 1 | 1 | 0.99634 | 0.99634 | 0.99662 | 0.95771
| 560 | 0.99497 | 0.99539 | 0.99756 | 0.99581 | 0.99497 | 0.99539 | 0.99497 | 1 | 1 | 0.99756 | 0.98817 | 1 | 1 | 0.99497 | 0.99497 | 0.99539 | 0.94171
| 580 | 0.99307 | 0.99362 | 0.9957 | 0.99346 | 0.99307 | 0.99362 | 0.99307 | 1 | 1 | 0.9957 | 0.98459 | 1 | 1 | 0.99307 | 0.99307 | 0.99362 | 0.9188
GLASS |  | Nikon 7054 |  | Ohara PBM2Y |  | Nikon 7054 |  | Nikon 7054 |  | Ohara PBM8Y |  | Ohara BSM51Y |  | Nikon 7054 |  | Nikon 7054
effective central thick. |  |  | EFF. CT |  | EFF. CT |  | EFF. CT |  | EFF. CT |  | EFF. CT |  | EFF. CT |  | EFF. CT |  | EFF. CT | SUM | overall internal glass transmission (all 8 lenses)
|  | 10mm | 8 | 10mm | 9 |  | 14 |  | 18 | 10mm | 8 | 10mm | 8 |  | 22 |  | 9 | 96
Glass Internal Transmission | 340 | 0.989 | 99.12% | 0.81 | 82.72% |  | 98.46% |  | 98.03% | 0.89 | 91.1% | 0.977 | 98.16% |  | 97.6% |  | 99.01% | 68.38%
| 360 | 0.994 | 99.52% | 0.98 | 98.2% |  | 99.16% |  | 98.92% | 0.987 | 98.96% | 0.993 | 99.44% |  | 98.68% |  | 99.46% | 92.59%
| 380 | 0.998 | 99.84% | 0.991 | 99.19% |  | 99.72% |  | 99.64% | 0.996 | 99.68% | 0.997 | 99.76% |  | 99.56% |  | 99.82% | 97.24%
| 400 | 0.998 | 99.84% | 0.997 | 99.73% |  | 99.72% |  | 99.64% | 0.998 | 99.84% | 0.998 | 99.84% |  | 99.56% |  | 99.82% | 98.01%
| 420 | 0.999 | 99.92% | 0.998 | 99.82% |  | 99.86% |  | 99.82% | 0.998 | 99.84% | 0.998 | 99.84% |  | 99.78% |  | 99.91% | 98.8%
| 440 | 0.999 | 99.92% | 0.998 | 99.82% |  | 99.86% |  | 99.82% | 0.998 | 99.84% | 0.998 | 99.84% |  | 99.78% |  | 99.91% | 98.8%
| 460 | 0.999 | 99.92% | 0.998 | 99.82% |  | 99.86% |  | 99.82% | 0.998 | 99.84% | 0.999 | 99.92% |  | 99.78% |  | 99.91% | 98.88%
| 480 | 0.999 | 99.92% | 0.999 | 99.91% |  | 99.86% |  | 99.82% | 0.999 | 99.92% | 0.999 | 99.92% |  | 99.78% |  | 99.91% | 99.04%
| 500 | 0.999 | 99.92% | 0.999 | 99.91% |  | 99.86% |  | 99.82% | 0.999 | 99.92% | 0.999 | 99.92% |  | 99.78% |  | 99.91% | 99.04%
| 520 | 0.999 | 99.92% | 0.999 | 99.91% |  | 99.86% |  | 99.82% | 0.999 | 99.92% | 0.999 | 99.92% |  | 99.78% |  | 99.91% | 99.04%
| 540 | 0.999 | 99.92% | 0.999 | 99.91% |  | 99.86% |  | 99.82% | 0.999 | 99.92% | 0.999 | 99.92% |  | 99.78% |  | 99.91% | 99.04%
| 560 | 0.999 | 99.92% | 0.999 | 99.91% |  | 99.86% |  | 99.82% | 0.999 | 99.92% | 0.999 | 99.92% |  | 99.78% |  | 99.91% | 99.04%
| 580 | 0.999 | 99.92% | 0.999 | 99.91% |  | 99.86% |  | 99.82% | 0.999 | 99.92% | 0.999 | 99.92% |  | 99.78% |  | 99.91% | 99.04%

## 2677C
nm | %R
700 | 2.434 | 700 | 2.434% | 300 | 11.73%
699 | 2.4156 | 680 | 2.115% | 320 | 5.088%
698 | 2.4023 | 660 | 1.797% | 340 | 1.641%
697 | 2.3875 | 640 | 1.493% | 360 | 0.4009%
696 | 2.3721 | 620 | 1.198% | 380 | 0.1908%
695 | 2.3571 | 600 | 0.9268% | 400 | 0.2827%
694 | 2.3401 | 580 | 0.693% | 420 | 0.361%
693 | 2.3219 | 560 | 0.503% | 440 | 0.3793%
692 | 2.3085 | 540 | 0.3661% | 460 | 0.3414%
691 | 2.2895 | 520 | 0.2868% | 480 | 0.2918%
690 | 2.2759 | 500 | 0.2657% | 500 | 0.2657%
689 | 2.2582 | 480 | 0.2918% | 520 | 0.2868%
688 | 2.241 | 460 | 0.3414% | 540 | 0.3661%
687 | 2.2272 | 440 | 0.3793% | 560 | 0.503%
686 | 2.2081 | 420 | 0.361% | 580 | 0.693%
685 | 2.1939 | 400 | 0.2827% | 600 | 0.9268%
684 | 2.1773 | 380 | 0.1908% | 620 | 1.198%
683 | 2.1673 | 360 | 0.4009% | 640 | 1.493%
682 | 2.151 | 340 | 1.641% | 660 | 1.797%
681 | 2.1321 | 320 | 5.088% | 680 | 2.115%
680 | 2.1154 | 300 | 11.73% | 700 | 2.434%
679 | 2.0996 | 0 | 0% | #REF! | #REF!
678 | 2.0824 | 0 | 0% | #REF! | #REF!
677 | 2.0687 | 0 | 0% | #REF! | #REF!
676 | 2.0539 | 0 | 0% | #REF! | #REF!
675 | 2.0389 | 0 | 0% | #REF! | #REF!
674 | 2.0208 | 0 | 0% | #REF! | #REF!
673 | 2.0054 | 0 | 0% | #REF! | #REF!
672 | 1.9887 | 0 | 0% | #REF! | #REF!
671 | 1.9694 | 0 | 0% | #REF! | #REF!
670 | 1.9585 | 0 | 0% | #REF! | #REF!
669 | 1.941 | 0 | 0% | #REF! | #REF!
668 | 1.9242 | 0 | 0% | #REF! | #REF!
667 | 1.9088 | 0 | 0% | #REF! | #REF!
666 | 1.8975 | 0 | 0% | #REF! | #REF!
665 | 1.8779 | 0 | 0% | #REF! | #REF!
664 | 1.8616 | 0 | 0% | #REF! | #REF!
663 | 1.8481 | 0 | 0% | #REF! | #REF!
662 | 1.8328 | 0 | 0% | #REF! | #REF!
661 | 1.816 | 0 | 0% | #REF! | #REF!
660 | 1.797
659 | 1.7846
658 | 1.7699
657 | 1.7514
656 | 1.7369
655 | 1.7243
654 | 1.7081
653 | 1.6861
652 | 1.6722
651 | 1.6568
650 | 1.6451
649 | 1.6305
648 | 1.6127
647 | 1.5982
646 | 1.5826
645 | 1.5675
644 | 1.5529
643 | 1.5376
642 | 1.5209
641 | 1.5064
640 | 1.4933
639 | 1.4759
638 | 1.4582
637 | 1.4446
636 | 1.4307
635 | 1.4163
634 | 1.4017
633 | 1.3827
632 | 1.3687
631 | 1.3556
630 | 1.341
629 | 1.3268
628 | 1.3119
627 | 1.2981
626 | 1.2822
625 | 1.2671
624 | 1.2522
623 | 1.239
622 | 1.2255
621 | 1.2117
620 | 1.1981
619 | 1.1843
618 | 1.1678
617 | 1.1538
616 | 1.1417
615 | 1.128
614 | 1.1133
613 | 1.0991
612 | 1.0855
611 | 1.0699
610 | 1.0573
609 | 1.0455
608 | 1.0303
607 | 1.0174
606 | 1.0063
605 | 0.99366
604 | 0.98095
603 | 0.96717
602 | 0.95189
601 | 0.93897
600 | 0.92679
599 | 0.91545
598 | 0.90189
597 | 0.8882
596 | 0.87726
595 | 0.86554
594 | 0.85218
593 | 0.84034
592 | 0.83041
591 | 0.81773
590 | 0.80554
589 | 0.79391
588 | 0.78132
587 | 0.76952
586 | 0.75987
585 | 0.7491
584 | 0.73609
583 | 0.72546
582 | 0.71585
581 | 0.70417
580 | 0.69297
579 | 0.68255
578 | 0.67018
577 | 0.66004
576 | 0.65
575 | 0.64019
574 | 0.6309
573 | 0.61959
572 | 0.61042
571 | 0.60189
570 | 0.59225
569 | 0.58145
568 | 0.57155
567 | 0.56358
566 | 0.55548
565 | 0.54629
564 | 0.53762
563 | 0.52946
562 | 0.52024
561 | 0.51026
560 | 0.50299
559 | 0.49613
558 | 0.48868
557 | 0.47997
556 | 0.47055
555 | 0.46333
554 | 0.45508
553 | 0.44699
552 | 0.44065
551 | 0.43349
550 | 0.42699
549 | 0.42043
548 | 0.41298
547 | 0.40798
546 | 0.40215
545 | 0.39562
544 | 0.38883
543 | 0.3839
542 | 0.37802
541 | 0.37169
540 | 0.36606
539 | 0.36101
538 | 0.35616
537 | 0.35005
536 | 0.34519
535 | 0.34119
534 | 0.33689
533 | 0.3324
532 | 0.32715
531 | 0.3242
530 | 0.32014
529 | 0.31575
528 | 0.31225
527 | 0.30803
526 | 0.30439
525 | 0.30108
524 | 0.29814
523 | 0.29569
522 | 0.29277
521 | 0.28981
520 | 0.2868
519 | 0.28504
518 | 0.28269
517 | 0.28106
516 | 0.27934
515 | 0.27747
514 | 0.2763
513 | 0.27391
512 | 0.27195
511 | 0.27071
510 | 0.27053
509 | 0.27009
508 | 0.26854
507 | 0.26747
506 | 0.26639
505 | 0.26691
504 | 0.26684
503 | 0.26677
502 | 0.26692
501 | 0.26464
500 | 0.26573
499 | 0.26652
498 | 0.26716
497 | 0.26663
496 | 0.26795
495 | 0.26882
494 | 0.26653
493 | 0.26881
492 | 0.27361
491 | 0.27391
490 | 0.27305
489 | 0.27532
488 | 0.27409
487 | 0.27571
486 | 0.28197
485 | 0.2818
484 | 0.2826
483 | 0.28494
482 | 0.2884
481 | 0.28987
480 | 0.2918
479 | 0.2952
478 | 0.29573
477 | 0.29832
476 | 0.29913
475 | 0.30163
474 | 0.30439
473 | 0.30591
472 | 0.31027
471 | 0.3102
470 | 0.3146
469 | 0.31651
468 | 0.32081
467 | 0.32265
466 | 0.32478
465 | 0.32638
464 | 0.32969
463 | 0.33171
462 | 0.33438
461 | 0.3361
460 | 0.34142
459 | 0.34452
458 | 0.3446
457 | 0.34601
456 | 0.34969
455 | 0.35023
454 | 0.35324
453 | 0.35839
452 | 0.35796
451 | 0.35973
450 | 0.36272
449 | 0.3629
448 | 0.36288
447 | 0.36797
446 | 0.36716
445 | 0.36813
444 | 0.37282
443 | 0.37396
442 | 0.36889
441 | 0.37428
440 | 0.3793
439 | 0.37434
438 | 0.37432
437 | 0.37732
436 | 0.37904
435 | 0.38167
434 | 0.37493
433 | 0.37738
432 | 0.37481
431 | 0.37653
430 | 0.37651
429 | 0.37599
428 | 0.37344
427 | 0.37616
426 | 0.37382
425 | 0.3726
424 | 0.37339
423 | 0.37005
422 | 0.36347
421 | 0.36165
420 | 0.36104
419 | 0.35422
418 | 0.35514
417 | 0.35477
416 | 0.35155
415 | 0.34461
414 | 0.34309
413 | 0.34039
412 | 0.33824
411 | 0.33346
410 | 0.33077
409 | 0.32685
408 | 0.3245
407 | 0.31689
406 | 0.31011
405 | 0.30024
404 | 0.29662
403 | 0.29404
402 | 0.29295
401 | 0.28175
400 | 0.28272
399 | 0.27595
398 | 0.26938
397 | 0.27298
396 | 0.25728
395 | 0.24504
394 | 0.23802
393 | 0.24146
392 | 0.23632
391 | 0.22545
390 | 0.21608
389 | 0.21509
388 | 0.21435
387 | 0.21097
386 | 0.21179
385 | 0.20347
384 | 0.19809
383 | 0.19217
382 | 0.18598
381 | 0.18369
380 | 0.19077
379 | 0.19226
378 | 0.19025
377 | 0.1909
376 | 0.21033
375 | 0.18674
374 | 0.19905
373 | 0.19791
372 | 0.20517
371 | 0.2226
370 | 0.23005
369 | 0.23111
368 | 0.25101
367 | 0.26346
366 | 0.27933
365 | 0.29203
364 | 0.30878
363 | 0.32903
362 | 0.36566
361 | 0.37523
360 | 0.40089
359 | 0.42927
358 | 0.46226
357 | 0.50136
356 | 0.52867
355 | 0.576
354 | 0.62027
353 | 0.66525
352 | 0.72137
351 | 0.77609
350 | 0.82778
349 | 0.88624
348 | 0.94874
347 | 1.0056
346 | 1.085
345 | 1.1792
344 | 1.2748
343 | 1.3599
342 | 1.4506
341 | 1.5421
340 | 1.6414
339 | 1.7284
338 | 1.8482
337 | 1.9765
336 | 2.0955
335 | 2.2288
334 | 2.3596
333 | 2.4872
332 | 2.6521
331 | 2.8401
330 | 3.0119
329 | 3.173
328 | 3.3444
327 | 3.5459
326 | 3.7419
325 | 3.9635
324 | 4.1943
323 | 4.4105
322 | 4.6149
321 | 4.8339
320 | 5.0878
319 | 5.3349
318 | 5.6285
317 | 5.9341
316 | 6.1781
315 | 6.46
314 | 6.7928
313 | 7.0938
312 | 7.3864
311 | 7.6874
310 | 8.038
309 | 8.3929
308 | 8.7474
307 | 9.0993
306 | 9.4497
305 | 9.782
304 | 10.1719
303 | 10.5608
302 | 10.901
301 | 11.3364
300 | 11.7254

## 2681C
nm | %R
700 | 2.3087 | 700 | 2.309% | 300 | 11.13%
699 | 2.2913 | 680 | 2.003% | 320 | 4.914%
698 | 2.276 | 660 | 1.697% | 340 | 1.629%
697 | 2.2605 | 640 | 1.397% | 360 | 0.4461%
696 | 2.2467 | 620 | 1.117% | 380 | 0.2551%
695 | 2.2347 | 600 | 0.8601% | 400 | 0.3419%
694 | 2.2176 | 580 | 0.638% | 420 | 0.4109%
693 | 2.2021 | 560 | 0.4608% | 440 | 0.4179%
692 | 2.1828 | 540 | 0.3377% | 460 | 0.3628%
691 | 2.1682 | 520 | 0.272% | 480 | 0.3037%
690 | 2.1574 | 500 | 0.265% | 500 | 0.265%
689 | 2.1373 | 480 | 0.3037% | 520 | 0.272%
688 | 2.1252 | 460 | 0.3628% | 540 | 0.3377%
687 | 2.1106 | 440 | 0.4179% | 560 | 0.4608%
686 | 2.0927 | 420 | 0.4109% | 580 | 0.638%
685 | 2.0755 | 400 | 0.3419% | 600 | 0.8601%
684 | 2.0636 | 380 | 0.2551% | 620 | 1.117%
683 | 2.049 | 360 | 0.4461% | 640 | 1.397%
682 | 2.0352 | 340 | 1.629% | 660 | 1.697%
681 | 2.0158 | 320 | 4.914% | 680 | 2.003%
680 | 2.003 | 300 | 11.13% | 700 | 2.309%
679 | 1.9825 | 0 | 0% | #REF! | #REF!
678 | 1.9676 | 0 | 0% | #REF! | #REF!
677 | 1.9549 | 0 | 0% | #REF! | #REF!
676 | 1.9428 | 0 | 0% | #REF! | #REF!
675 | 1.9237 | 0 | 0% | #REF! | #REF!
674 | 1.9064 | 0 | 0% | #REF! | #REF!
673 | 1.8924 | 0 | 0% | #REF! | #REF!
672 | 1.8774 | 0 | 0% | #REF! | #REF!
671 | 1.8644 | 0 | 0% | #REF! | #REF!
670 | 1.8469 | 0 | 0% | #REF! | #REF!
669 | 1.8313 | 0 | 0% | #REF! | #REF!
668 | 1.8159 | 0 | 0% | #REF! | #REF!
667 | 1.8021 | 0 | 0% | #REF! | #REF!
666 | 1.7847 | 0 | 0% | #REF! | #REF!
665 | 1.7692 | 0 | 0% | #REF! | #REF!
664 | 1.756 | 0 | 0% | #REF! | #REF!
663 | 1.7382 | 0 | 0% | #REF! | #REF!
662 | 1.727 | 0 | 0% | #REF! | #REF!
661 | 1.7099 | 0 | 0% | #REF! | #REF!
660 | 1.697
659 | 1.6808
658 | 1.6675
657 | 1.6527
656 | 1.6327
655 | 1.6205
654 | 1.6047
653 | 1.5883
652 | 1.5737
651 | 1.5582
650 | 1.5431
649 | 1.5274
648 | 1.516
647 | 1.4969
646 | 1.4879
645 | 1.4719
644 | 1.4581
643 | 1.44
642 | 1.4273
641 | 1.4113
640 | 1.3967
639 | 1.3826
638 | 1.3697
637 | 1.3552
636 | 1.3401
635 | 1.3258
634 | 1.3114
633 | 1.2944
632 | 1.2835
631 | 1.2692
630 | 1.2533
629 | 1.2395
628 | 1.2269
627 | 1.2124
626 | 1.197
625 | 1.1858
624 | 1.1674
623 | 1.1567
622 | 1.1407
621 | 1.1294
620 | 1.1166
619 | 1.103
618 | 1.0897
617 | 1.0754
616 | 1.0637
615 | 1.049
614 | 1.0346
613 | 1.0249
612 | 1.0115
611 | 0.99778
610 | 0.98367
609 | 0.97137
608 | 0.95839
607 | 0.94701
606 | 0.93531
605 | 0.92099
604 | 0.9083
603 | 0.8956
602 | 0.88362
601 | 0.87113
600 | 0.86008
599 | 0.84783
598 | 0.83304
597 | 0.82211
596 | 0.81119
595 | 0.79961
594 | 0.78787
593 | 0.77747
592 | 0.76659
591 | 0.75591
590 | 0.74378
589 | 0.73154
588 | 0.72194
587 | 0.71131
586 | 0.6997
585 | 0.68996
584 | 0.68022
583 | 0.66755
582 | 0.65662
581 | 0.64646
580 | 0.63797
579 | 0.62844
578 | 0.61803
577 | 0.60823
576 | 0.59786
575 | 0.58906
574 | 0.5795
573 | 0.57031
572 | 0.5616
571 | 0.55124
570 | 0.54267
569 | 0.53429
568 | 0.52643
567 | 0.51777
566 | 0.50863
565 | 0.50085
564 | 0.49255
563 | 0.48321
562 | 0.47554
561 | 0.46923
560 | 0.46081
559 | 0.45198
558 | 0.44613
557 | 0.43959
556 | 0.43274
555 | 0.42487
554 | 0.41789
553 | 0.41224
552 | 0.40477
551 | 0.39893
550 | 0.39252
549 | 0.38547
548 | 0.38007
547 | 0.37496
546 | 0.36971
545 | 0.36359
544 | 0.35793
543 | 0.35242
542 | 0.34785
541 | 0.34308
540 | 0.33768
539 | 0.33341
538 | 0.32907
537 | 0.32381
536 | 0.31992
535 | 0.31571
534 | 0.31233
533 | 0.30851
532 | 0.30444
531 | 0.30101
530 | 0.29824
529 | 0.29563
528 | 0.29207
527 | 0.28921
526 | 0.28573
525 | 0.28319
524 | 0.28116
523 | 0.27859
522 | 0.2776
521 | 0.2744
520 | 0.27198
519 | 0.27085
518 | 0.26931
517 | 0.26842
516 | 0.26663
515 | 0.2662
514 | 0.26489
513 | 0.26354
512 | 0.26282
511 | 0.26349
510 | 0.2635
509 | 0.26188
508 | 0.26066
507 | 0.26174
506 | 0.26115
505 | 0.26222
504 | 0.26169
503 | 0.26232
502 | 0.26346
501 | 0.26551
500 | 0.265
499 | 0.2659
498 | 0.26803
497 | 0.26771
496 | 0.26774
495 | 0.27
494 | 0.27136
493 | 0.2722
492 | 0.27575
491 | 0.27908
490 | 0.27787
489 | 0.28332
488 | 0.28552
487 | 0.288
486 | 0.28632
485 | 0.29044
484 | 0.29124
483 | 0.29399
482 | 0.29648
481 | 0.29839
480 | 0.30375
479 | 0.30545
478 | 0.30913
477 | 0.3114
476 | 0.31326
475 | 0.31566
474 | 0.31873
473 | 0.32369
472 | 0.32538
471 | 0.32883
470 | 0.3307
469 | 0.3338
468 | 0.33681
467 | 0.33773
466 | 0.34449
465 | 0.34544
464 | 0.34997
463 | 0.35142
462 | 0.35738
461 | 0.36146
460 | 0.36275
459 | 0.36624
458 | 0.36624
457 | 0.37276
456 | 0.37314
455 | 0.37945
454 | 0.38114
453 | 0.38449
452 | 0.38721
451 | 0.38858
450 | 0.39051
449 | 0.39681
448 | 0.39473
447 | 0.40055
446 | 0.40183
445 | 0.4014
444 | 0.4035
443 | 0.41322
442 | 0.40662
441 | 0.40905
440 | 0.41787
439 | 0.41707
438 | 0.4112
437 | 0.41512
436 | 0.41632
435 | 0.40969
434 | 0.41727
433 | 0.4194
432 | 0.42294
431 | 0.42143
430 | 0.41269
429 | 0.42525
428 | 0.42358
427 | 0.42386
426 | 0.42331
425 | 0.42552
424 | 0.42348
423 | 0.41757
422 | 0.41939
421 | 0.40785
420 | 0.41087
419 | 0.41524
418 | 0.41171
417 | 0.40609
416 | 0.40275
415 | 0.4007
414 | 0.39243
413 | 0.39851
412 | 0.39167
411 | 0.39658
410 | 0.39022
409 | 0.3878
408 | 0.37908
407 | 0.37564
406 | 0.37268
405 | 0.3592
404 | 0.36804
403 | 0.36346
402 | 0.35831
401 | 0.35055
400 | 0.34191
399 | 0.34124
398 | 0.33538
397 | 0.33226
396 | 0.32205
395 | 0.31492
394 | 0.31632
393 | 0.30302
392 | 0.30809
391 | 0.30078
390 | 0.297
389 | 0.28729
388 | 0.28494
387 | 0.28188
386 | 0.27303
385 | 0.27654
384 | 0.26673
383 | 0.26673
382 | 0.2569
381 | 0.25576
380 | 0.25506
379 | 0.26643
378 | 0.25886
377 | 0.25126
376 | 0.26636
375 | 0.27356
374 | 0.25301
373 | 0.27756
372 | 0.27646
371 | 0.29657
370 | 0.30108
369 | 0.31294
368 | 0.31262
367 | 0.32106
366 | 0.32908
365 | 0.34806
364 | 0.36934
363 | 0.38076
362 | 0.41132
361 | 0.42198
360 | 0.44609
359 | 0.48606
358 | 0.50794
357 | 0.54759
356 | 0.576
355 | 0.61934
354 | 0.65917
353 | 0.70345
352 | 0.74875
351 | 0.79833
350 | 0.85962
349 | 0.92594
348 | 0.98961
347 | 1.0398
346 | 1.111
345 | 1.1859
344 | 1.264
343 | 1.3456
342 | 1.4316
341 | 1.5239
340 | 1.629
339 | 1.7266
338 | 1.8341
337 | 1.9569
336 | 2.0727
335 | 2.194
334 | 2.3356
333 | 2.4695
332 | 2.5994
331 | 2.7325
330 | 2.8945
329 | 3.068
328 | 3.2369
327 | 3.4252
326 | 3.6131
325 | 3.8111
324 | 3.9955
323 | 4.1911
322 | 4.4388
321 | 4.697
320 | 4.9135
319 | 5.1373
318 | 5.3914
317 | 5.6441
316 | 5.8883
315 | 6.1496
314 | 6.4529
313 | 6.7762
312 | 7.0751
311 | 7.3737
310 | 7.6784
309 | 7.9719
308 | 8.2954
307 | 8.618
306 | 8.9784
305 | 9.2963
304 | 9.6516
303 | 10.0111
302 | 10.4011
301 | 10.7813
300 | 11.133

## 2666C
nm | %R
700 | 2.6854 | 700 | 2.685% | 300 | 13.61%
699 | 2.6536 | 680 | 2.25% | 320 | 5.143%
698 | 2.6429 | 660 | 1.823% | 340 | 1.096%
697 | 2.6217 | 640 | 1.412% | 360 | 0.04928%
696 | 2.5973 | 620 | 1.028% | 380 | 0.2202%
695 | 2.5747 | 600 | 0.6957% | 400 | 0.6139%
694 | 2.5546 | 580 | 0.4299% | 420 | 0.8365%
693 | 2.5318 | 560 | 0.2444% | 440 | 0.8412%
692 | 2.5053 | 540 | 0.1602% | 460 | 0.6872%
691 | 2.4832 | 520 | 0.1766% | 480 | 0.4801%
690 | 2.4636 | 500 | 0.2889% | 500 | 0.2889%
689 | 2.444 | 480 | 0.4801% | 520 | 0.1766%
688 | 2.4244 | 460 | 0.6872% | 540 | 0.1602%
687 | 2.4027 | 440 | 0.8412% | 560 | 0.2444%
686 | 2.3803 | 420 | 0.8365% | 580 | 0.4299%
685 | 2.3602 | 400 | 0.6139% | 600 | 0.6957%
684 | 2.3385 | 380 | 0.2202% | 620 | 1.028%
683 | 2.3113 | 360 | 0.04928% | 640 | 1.412%
682 | 2.2933 | 340 | 1.096% | 660 | 1.823%
681 | 2.2705 | 320 | 5.143% | 680 | 2.25%
680 | 2.2498 | 300 | 13.61% | 700 | 2.685%
679 | 2.2273 | 0 | 0% | #REF! | #REF!
678 | 2.2077 | 0 | 0% | #REF! | #REF!
677 | 2.1877 | 0 | 0% | #REF! | #REF!
676 | 2.1678 | 0 | 0% | #REF! | #REF!
675 | 2.1452 | 0 | 0% | #REF! | #REF!
674 | 2.1197 | 0 | 0% | #REF! | #REF!
673 | 2.0974 | 0 | 0% | #REF! | #REF!
672 | 2.0791 | 0 | 0% | #REF! | #REF!
671 | 2.058 | 0 | 0% | #REF! | #REF!
670 | 2.0362 | 0 | 0% | #REF! | #REF!
669 | 2.0125 | 0 | 0% | #REF! | #REF!
668 | 1.9913 | 0 | 0% | #REF! | #REF!
667 | 1.9747 | 0 | 0% | #REF! | #REF!
666 | 1.9494 | 0 | 0% | #REF! | #REF!
665 | 1.9291 | 0 | 0% | #REF! | #REF!
664 | 1.9057 | 0 | 0% | #REF! | #REF!
663 | 1.8833 | 0 | 0% | #REF! | #REF!
662 | 1.8632 | 0 | 0% | #REF! | #REF!
661 | 1.8447 | 0 | 0% | #REF! | #REF!
660 | 1.8229
659 | 1.806
658 | 1.7767
657 | 1.7541
656 | 1.7364
655 | 1.7175
654 | 1.6976
653 | 1.6749
652 | 1.6575
651 | 1.6329
650 | 1.6109
649 | 1.593
648 | 1.5722
647 | 1.5539
646 | 1.5333
645 | 1.5113
644 | 1.4881
643 | 1.4674
642 | 1.4492
641 | 1.4302
640 | 1.412
639 | 1.3879
638 | 1.3694
637 | 1.3507
636 | 1.3326
635 | 1.3121
634 | 1.2921
633 | 1.2722
632 | 1.2518
631 | 1.2332
630 | 1.2146
629 | 1.1934
628 | 1.177
627 | 1.1591
626 | 1.14
625 | 1.1204
624 | 1.1032
623 | 1.0834
622 | 1.0661
621 | 1.0498
620 | 1.0284
619 | 1.0119
618 | 0.99375
617 | 0.97699
616 | 0.95964
615 | 0.93939
614 | 0.92264
613 | 0.90836
612 | 0.89074
611 | 0.8727
610 | 0.85711
609 | 0.83953
608 | 0.82286
607 | 0.80718
606 | 0.79026
605 | 0.77497
604 | 0.7592
603 | 0.74266
602 | 0.72778
601 | 0.711
600 | 0.69568
599 | 0.68021
598 | 0.66618
597 | 0.65213
596 | 0.63787
595 | 0.62296
594 | 0.60823
593 | 0.59463
592 | 0.58088
591 | 0.56673
590 | 0.553
589 | 0.53909
588 | 0.52568
587 | 0.51434
586 | 0.5041
585 | 0.49062
584 | 0.47649
583 | 0.46427
582 | 0.45112
581 | 0.44003
580 | 0.42988
579 | 0.41861
578 | 0.40692
577 | 0.3949
576 | 0.38447
575 | 0.37596
574 | 0.36624
573 | 0.35623
572 | 0.3461
571 | 0.33565
570 | 0.32547
569 | 0.31694
568 | 0.30834
567 | 0.29978
566 | 0.29162
565 | 0.28259
564 | 0.27365
563 | 0.26697
562 | 0.26074
561 | 0.25257
560 | 0.24436
559 | 0.23817
558 | 0.23268
557 | 0.22672
556 | 0.21974
555 | 0.21367
554 | 0.20826
553 | 0.2035
552 | 0.19996
551 | 0.19453
550 | 0.18958
549 | 0.18552
548 | 0.18056
547 | 0.17794
546 | 0.17641
545 | 0.17221
544 | 0.16773
543 | 0.16457
542 | 0.16279
541 | 0.16072
540 | 0.16017
539 | 0.15716
538 | 0.15564
537 | 0.15548
536 | 0.15456
535 | 0.1539
534 | 0.15353
533 | 0.15284
532 | 0.15322
531 | 0.15447
530 | 0.15512
529 | 0.15553
528 | 0.15646
527 | 0.15785
526 | 0.15901
525 | 0.16193
524 | 0.16401
523 | 0.16691
522 | 0.16995
521 | 0.17312
520 | 0.17655
519 | 0.17976
518 | 0.18381
517 | 0.18791
516 | 0.19181
515 | 0.19539
514 | 0.20131
513 | 0.20586
512 | 0.21125
511 | 0.21725
510 | 0.22281
509 | 0.22826
508 | 0.23359
507 | 0.23915
506 | 0.24506
505 | 0.25157
504 | 0.25929
503 | 0.26594
502 | 0.27447
501 | 0.2821
500 | 0.28892
499 | 0.29642
498 | 0.30513
497 | 0.31318
496 | 0.32255
495 | 0.33051
494 | 0.33959
493 | 0.3472
492 | 0.35939
491 | 0.3684
490 | 0.37726
489 | 0.38813
488 | 0.39987
487 | 0.40582
486 | 0.41871
485 | 0.4327
484 | 0.43871
483 | 0.4486
482 | 0.45916
481 | 0.47048
480 | 0.48014
479 | 0.49192
478 | 0.50165
477 | 0.51255
476 | 0.5207
475 | 0.53158
474 | 0.54389
473 | 0.55229
472 | 0.56557
471 | 0.57458
470 | 0.5849
469 | 0.59676
468 | 0.60567
467 | 0.61678
466 | 0.62753
465 | 0.63446
464 | 0.64708
463 | 0.65663
462 | 0.67051
461 | 0.6761
460 | 0.68716
459 | 0.69212
458 | 0.70229
457 | 0.71634
456 | 0.72435
455 | 0.73459
454 | 0.74268
453 | 0.75072
452 | 0.75537
451 | 0.76519
450 | 0.77069
449 | 0.77832
448 | 0.79426
447 | 0.79308
446 | 0.80301
445 | 0.81504
444 | 0.81103
443 | 0.82525
442 | 0.82404
441 | 0.83609
440 | 0.84116
439 | 0.84355
438 | 0.84948
437 | 0.84859
436 | 0.84691
435 | 0.85753
434 | 0.8577
433 | 0.85921
432 | 0.86354
431 | 0.86752
430 | 0.86495
429 | 0.86137
428 | 0.86345
427 | 0.86057
426 | 0.86337
425 | 0.857
424 | 0.85129
423 | 0.85321
422 | 0.84623
421 | 0.84635
420 | 0.83647
419 | 0.8398
418 | 0.83152
417 | 0.81861
416 | 0.81525
415 | 0.80482
414 | 0.79983
413 | 0.78544
412 | 0.77526
411 | 0.76397
410 | 0.7582
409 | 0.7524
408 | 0.7352
407 | 0.71621
406 | 0.71141
405 | 0.69525
404 | 0.6757
403 | 0.66644
402 | 0.65248
401 | 0.63759
400 | 0.61393
399 | 0.6013
398 | 0.58436
397 | 0.55685
396 | 0.54437
395 | 0.52835
394 | 0.50727
393 | 0.49216
392 | 0.47935
391 | 0.44962
390 | 0.43271
389 | 0.41667
388 | 0.38431
387 | 0.36505
386 | 0.34102
385 | 0.32136
384 | 0.30453
383 | 0.28555
382 | 0.26552
381 | 0.24007
380 | 0.22022
379 | 0.20486
378 | 0.18538
377 | 0.17546
376 | 0.15147
375 | 0.16533
374 | 0.11374
373 | 0.080301
372 | 0.054379
371 | 0.047461
370 | 0.052335
369 | 0.046197
368 | 0.042284
367 | 0.037625
366 | 0.029569
365 | 0.027195
364 | 0.025641
363 | 0.029614
362 | 0.035937
361 | 0.050772
360 | 0.049284
359 | 0.059006
358 | 0.079903
357 | 0.09487
356 | 0.11689
355 | 0.13372
354 | 0.16967
353 | 0.19915
352 | 0.242
351 | 0.29133
350 | 0.33291
349 | 0.38442
348 | 0.42626
347 | 0.49193
346 | 0.55043
345 | 0.62727
344 | 0.72891
343 | 0.80894
342 | 0.88974
341 | 0.98332
340 | 1.0958
339 | 1.2217
338 | 1.3555
337 | 1.4887
336 | 1.6313
335 | 1.7595
334 | 1.9224
333 | 2.0965
332 | 2.2768
331 | 2.4628
330 | 2.649
329 | 2.8326
328 | 3.0376
327 | 3.2609
326 | 3.5122
325 | 3.7838
324 | 4.0269
323 | 4.2919
322 | 4.58
321 | 4.8585
320 | 5.1434
319 | 5.4618
318 | 5.7865
317 | 6.1484
316 | 6.5089
315 | 6.8503
314 | 7.237
313 | 7.611
312 | 8.0074
311 | 8.4452
310 | 8.8541
309 | 9.2589
308 | 9.7046
307 | 10.1393
306 | 10.644
305 | 11.1539
304 | 11.6097
303 | 12.0595
302 | 12.5631
301 | 13.1075
300 | 13.605

## 2671C
nm | %R
700 | 3.025 | 700 | 3.025% | 300 | 13.45%
699 | 3.0033 | 680 | 2.59% | 320 | 5.429%
698 | 2.9801 | 660 | 2.149% | 340 | 1.383%
697 | 2.9609 | 640 | 1.729% | 360 | 0.1373%
696 | 2.9411 | 620 | 1.324% | 380 | 0.1057%
695 | 2.9179 | 600 | 0.9593% | 400 | 0.3904%
694 | 2.8953 | 580 | 0.6542% | 420 | 0.5695%
693 | 2.8694 | 560 | 0.4186% | 440 | 0.5883%
692 | 2.8542 | 540 | 0.268% | 460 | 0.4867%
691 | 2.826 | 520 | 0.2134% | 480 | 0.3566%
690 | 2.8114 | 500 | 0.2474% | 500 | 0.2474%
689 | 2.7893 | 480 | 0.3566% | 520 | 0.2134%
688 | 2.7609 | 460 | 0.4867% | 540 | 0.268%
687 | 2.7424 | 440 | 0.5883% | 560 | 0.4186%
686 | 2.7201 | 420 | 0.5695% | 580 | 0.6542%
685 | 2.6967 | 400 | 0.3904% | 600 | 0.9593%
684 | 2.6763 | 380 | 0.1057% | 620 | 1.324%
683 | 2.6543 | 360 | 0.1373% | 640 | 1.729%
682 | 2.6296 | 340 | 1.383% | 660 | 2.149%
681 | 2.6107 | 320 | 5.429% | 680 | 2.59%
680 | 2.5904 | 300 | 13.45% | 700 | 3.025%
679 | 2.5669 | 0 | 0% | #REF! | #REF!
678 | 2.5455 | 0 | 0% | #REF! | #REF!
677 | 2.5259 | 0 | 0% | #REF! | #REF!
676 | 2.5035 | 0 | 0% | #REF! | #REF!
675 | 2.4795 | 0 | 0% | #REF! | #REF!
674 | 2.4554 | 0 | 0% | #REF! | #REF!
673 | 2.4336 | 0 | 0% | #REF! | #REF!
672 | 2.4139 | 0 | 0% | #REF! | #REF!
671 | 2.3922 | 0 | 0% | #REF! | #REF!
670 | 2.3682 | 0 | 0% | #REF! | #REF!
669 | 2.3482 | 0 | 0% | #REF! | #REF!
668 | 2.3264 | 0 | 0% | #REF! | #REF!
667 | 2.3041 | 0 | 0% | #REF! | #REF!
666 | 2.2868 | 0 | 0% | #REF! | #REF!
665 | 2.2588 | 0 | 0% | #REF! | #REF!
664 | 2.2405 | 0 | 0% | #REF! | #REF!
663 | 2.217 | 0 | 0% | #REF! | #REF!
662 | 2.196 | 0 | 0% | #REF! | #REF!
661 | 2.1768 | 0 | 0% | #REF! | #REF!
660 | 2.149
659 | 2.1298
658 | 2.1094
657 | 2.089
656 | 2.0662
655 | 2.0426
654 | 2.0217
653 | 2.0014
652 | 1.9846
651 | 1.9601
650 | 1.9419
649 | 1.9199
648 | 1.8968
647 | 1.8737
646 | 1.8531
645 | 1.8328
644 | 1.8137
643 | 1.7928
642 | 1.769
641 | 1.749
640 | 1.7286
639 | 1.7058
638 | 1.6867
637 | 1.6668
636 | 1.6475
635 | 1.6276
634 | 1.6039
633 | 1.5822
632 | 1.564
631 | 1.5442
630 | 1.5217
629 | 1.5028
628 | 1.4815
627 | 1.4607
626 | 1.4414
625 | 1.4214
624 | 1.4038
623 | 1.3828
622 | 1.3625
621 | 1.3429
620 | 1.3245
619 | 1.3062
618 | 1.288
617 | 1.2668
616 | 1.2488
615 | 1.2307
614 | 1.2115
613 | 1.1926
612 | 1.1713
611 | 1.1544
610 | 1.137
609 | 1.1192
608 | 1.1018
607 | 1.0836
606 | 1.0645
605 | 1.0469
604 | 1.0305
603 | 1.0146
602 | 0.99522
601 | 0.97683
600 | 0.9593
599 | 0.94379
598 | 0.92776
597 | 0.911
596 | 0.89343
595 | 0.87788
594 | 0.86262
593 | 0.84643
592 | 0.82948
591 | 0.81286
590 | 0.79876
589 | 0.78417
588 | 0.76961
587 | 0.75645
586 | 0.74042
585 | 0.72357
584 | 0.70851
583 | 0.69456
582 | 0.68257
581 | 0.66901
580 | 0.65421
579 | 0.63931
578 | 0.62569
577 | 0.61325
576 | 0.60021
575 | 0.58698
574 | 0.574
573 | 0.56197
572 | 0.55049
571 | 0.53844
570 | 0.52612
569 | 0.51406
568 | 0.50258
567 | 0.49182
566 | 0.47953
565 | 0.4675
564 | 0.45653
563 | 0.44822
562 | 0.43761
561 | 0.42656
560 | 0.4186
559 | 0.40802
558 | 0.39827
557 | 0.39027
556 | 0.38074
555 | 0.37306
554 | 0.36423
553 | 0.35582
552 | 0.347
551 | 0.33852
550 | 0.33175
549 | 0.32423
548 | 0.31707
547 | 0.3097
546 | 0.30264
545 | 0.29703
544 | 0.29067
543 | 0.28412
542 | 0.27783
541 | 0.27265
540 | 0.26803
539 | 0.26302
538 | 0.25744
537 | 0.25312
536 | 0.24972
535 | 0.24614
534 | 0.24215
533 | 0.23747
532 | 0.2343
531 | 0.23098
530 | 0.22827
529 | 0.22529
528 | 0.22331
527 | 0.22127
526 | 0.21957
525 | 0.2183
524 | 0.21625
523 | 0.21533
522 | 0.21435
521 | 0.21281
520 | 0.2134
519 | 0.21337
518 | 0.21274
517 | 0.21273
516 | 0.21289
515 | 0.21353
514 | 0.2139
513 | 0.21507
512 | 0.21695
511 | 0.21898
510 | 0.21978
509 | 0.22082
508 | 0.22343
507 | 0.22661
506 | 0.22754
505 | 0.23101
504 | 0.23354
503 | 0.23643
502 | 0.23943
501 | 0.24403
500 | 0.24737
499 | 0.2502
498 | 0.25474
497 | 0.25859
496 | 0.26486
495 | 0.26965
494 | 0.27143
493 | 0.28074
492 | 0.2836
491 | 0.2928
490 | 0.2965
489 | 0.30192
488 | 0.30491
487 | 0.31007
486 | 0.32051
485 | 0.32384
484 | 0.33395
483 | 0.33629
482 | 0.34093
481 | 0.35024
480 | 0.35662
479 | 0.36421
478 | 0.36841
477 | 0.37575
476 | 0.38251
475 | 0.38805
474 | 0.39395
473 | 0.40131
472 | 0.40948
471 | 0.41611
470 | 0.42545
469 | 0.4284
468 | 0.43519
467 | 0.44336
466 | 0.44871
465 | 0.45588
464 | 0.46209
463 | 0.46916
462 | 0.47391
461 | 0.48154
460 | 0.48674
459 | 0.49424
458 | 0.50142
457 | 0.50777
456 | 0.51639
455 | 0.51967
454 | 0.52745
453 | 0.52835
452 | 0.53417
451 | 0.54026
450 | 0.54555
449 | 0.5509
448 | 0.55449
447 | 0.55996
446 | 0.56185
445 | 0.57349
444 | 0.57846
443 | 0.5759
442 | 0.58001
441 | 0.58321
440 | 0.58831
439 | 0.58782
438 | 0.59499
437 | 0.59144
436 | 0.59879
435 | 0.5938
434 | 0.5969
433 | 0.59742
432 | 0.59946
431 | 0.59421
430 | 0.60323
429 | 0.59674
428 | 0.60029
427 | 0.59474
426 | 0.58967
425 | 0.5905
424 | 0.59081
423 | 0.58554
422 | 0.57809
421 | 0.56821
420 | 0.56947
419 | 0.56364
418 | 0.56084
417 | 0.55731
416 | 0.53961
415 | 0.54165
414 | 0.53434
413 | 0.52812
412 | 0.51799
411 | 0.51092
410 | 0.5008
409 | 0.49541
408 | 0.48148
407 | 0.47327
406 | 0.45391
405 | 0.44754
404 | 0.43675
403 | 0.43485
402 | 0.41846
401 | 0.41095
400 | 0.3904
399 | 0.38122
398 | 0.36261
397 | 0.34742
396 | 0.33764
395 | 0.32451
394 | 0.30639
393 | 0.28887
392 | 0.27955
391 | 0.25964
390 | 0.24462
389 | 0.23064
388 | 0.22732
387 | 0.2114
386 | 0.19132
385 | 0.17954
384 | 0.15959
383 | 0.14844
382 | 0.13943
381 | 0.11887
380 | 0.10574
379 | 0.096099
378 | 0.088469
377 | 0.081115
376 | 0.070342
375 | 0.062947
374 | 0.037603
373 | 0.053839
372 | 0.043426
371 | 0.020431
370 | 0.027101
369 | 0.036817
368 | 0.031371
367 | 0.038157
366 | 0.045876
365 | 0.059835
364 | 0.075074
363 | 0.078541
362 | 0.082567
361 | 0.11722
360 | 0.13725
359 | 0.15561
358 | 0.18641
357 | 0.19698
356 | 0.23507
355 | 0.2778
354 | 0.32248
353 | 0.34854
352 | 0.40484
351 | 0.46104
350 | 0.51628
349 | 0.57622
348 | 0.65107
347 | 0.71849
346 | 0.78918
345 | 0.87614
344 | 0.95644
343 | 1.0324
342 | 1.1475
341 | 1.2739
340 | 1.3825
339 | 1.5092
338 | 1.6393
337 | 1.774
336 | 1.916
335 | 2.0532
334 | 2.2183
333 | 2.3877
332 | 2.5701
331 | 2.7485
330 | 2.9356
329 | 3.1375
328 | 3.3484
327 | 3.5826
326 | 3.7955
325 | 4.0355
324 | 4.2935
323 | 4.558
322 | 4.8335
321 | 5.1004
320 | 5.4287
319 | 5.7573
318 | 6.0684
317 | 6.3884
316 | 6.6983
315 | 7.0527
314 | 7.4077
313 | 7.7741
312 | 8.1438
311 | 8.5453
310 | 8.9216
309 | 9.3016
308 | 9.7453
307 | 10.1936
306 | 10.646
305 | 11.0897
304 | 11.549
303 | 12.0001
302 | 12.5081
301 | 13.0168
300 | 13.4476

## 2675C
nm | %R
800 | 5.8693 | 800 | 5.869% | 320 | 5.236%
799 | 5.8654 | 780 | 5.573% | 340 | 1.553%
798 | 5.8404 | 760 | 5.246% | 360 | 0.2764%
797 | 5.8367 | 740 | 4.885% | 380 | 0.06114%
796 | 5.8187 | 720 | 4.512% | 400 | 0.1635%
795 | 5.8023 | 700 | 4.108% | 420 | 0.2744%
794 | 5.7893 | 680 | 3.686% | 440 | 0.3276%
793 | 5.7705 | 660 | 3.251% | 460 | 0.355%
792 | 5.7587 | 640 | 2.811% | 480 | 0.393%
791 | 5.7342 | 620 | 2.367% | 500 | 0.4843%
790 | 5.7379 | 600 | 1.945% | 520 | 0.6447%
789 | 5.706 | 580 | 1.541% | 540 | 0.8796%
788 | 5.6888 | 560 | 1.183% | 560 | 1.183%
787 | 5.6967 | 540 | 0.8796% | 580 | 1.541%
786 | 5.666 | 520 | 0.6447% | 600 | 1.945%
785 | 5.6582 | 500 | 0.4843% | 620 | 2.367%
784 | 5.6272 | 480 | 0.393% | 640 | 2.811%
783 | 5.6214 | 460 | 0.355% | 660 | 3.251%
782 | 5.608 | 440 | 0.3276% | 680 | 3.686%
781 | 5.6011 | 420 | 0.2744% | 700 | 4.108%
780 | 5.5731 | 400 | 0.1635% | 720 | 4.512%
779 | 5.5466 | 380 | 0.06114% | 740 | 4.885%
778 | 5.5393 | 360 | 0.2764% | 760 | 5.246%
777 | 5.5111 | 340 | 1.553% | 780 | 5.573%
776 | 5.5136 | 320 | 5.236% | 800 | 5.869%
775 | 5.487 | 0 | 0% | #REF! | #REF!
774 | 5.4703 | 0 | 0% | #REF! | #REF!
773 | 5.4602 | 0 | 0% | #REF! | #REF!
772 | 5.4433 | 0 | 0% | #REF! | #REF!
771 | 5.42 | 0 | 0% | #REF! | #REF!
770 | 5.4063 | 0 | 0% | #REF! | #REF!
769 | 5.3957 | 0 | 0% | #REF! | #REF!
768 | 5.3776 | 0 | 0% | #REF! | #REF!
767 | 5.3638 | 0 | 0% | #REF! | #REF!
766 | 5.3489 | 0 | 0% | #REF! | #REF!
765 | 5.3297 | 0 | 0% | #REF! | #REF!
764 | 5.3082 | 0 | 0% | #REF! | #REF!
763 | 5.2919 | 0 | 0% | #REF! | #REF!
762 | 5.2808 | 0 | 0% | #REF! | #REF!
761 | 5.2538 | 0 | 0% | #REF! | #REF!
760 | 5.2459
759 | 5.2198
758 | 5.2133
757 | 5.1933
756 | 5.1711
755 | 5.1571
754 | 5.1335
753 | 5.1204
752 | 5.1038
751 | 5.0916
750 | 5.0676
749 | 5.0523
748 | 5.0382
747 | 5.0128
746 | 4.9999
745 | 4.9849
744 | 4.9652
743 | 4.944
742 | 4.9249
741 | 4.9092
740 | 4.8853
739 | 4.8709
738 | 4.849
737 | 4.8325
736 | 4.8158
735 | 4.7954
734 | 4.7752
733 | 4.7548
732 | 4.7391
731 | 4.7202
730 | 4.7025
729 | 4.684
728 | 4.6622
727 | 4.6445
726 | 4.6271
725 | 4.6076
724 | 4.5884
723 | 4.5752
722 | 4.5519
721 | 4.5322
720 | 4.5117
719 | 4.4874
718 | 4.4683
717 | 4.4515
716 | 4.4332
715 | 4.4113
714 | 4.3909
713 | 4.37
712 | 4.3532
711 | 4.333
710 | 4.3107
709 | 4.2918
708 | 4.2709
707 | 4.2517
706 | 4.2323
705 | 4.2124
704 | 4.1925
703 | 4.1695
702 | 4.1463
701 | 4.1284
700 | 4.1076
699 | 4.0878
698 | 4.0679
697 | 4.0449
696 | 4.0251
695 | 4.0043
694 | 3.981
693 | 3.961
692 | 3.9402
691 | 3.9204
690 | 3.8999
689 | 3.8777
688 | 3.855
687 | 3.8353
686 | 3.8171
685 | 3.7948
684 | 3.7721
683 | 3.753
682 | 3.7317
681 | 3.7087
680 | 3.6865
679 | 3.6657
678 | 3.6451
677 | 3.623
676 | 3.5996
675 | 3.58
674 | 3.5606
673 | 3.5385
672 | 3.518
671 | 3.4937
670 | 3.472
669 | 3.4509
668 | 3.429
667 | 3.4061
666 | 3.3838
665 | 3.3607
664 | 3.3373
663 | 3.3163
662 | 3.2944
661 | 3.2741
660 | 3.2515
659 | 3.2297
658 | 3.2078
657 | 3.185
656 | 3.163
655 | 3.1415
654 | 3.1215
653 | 3.098
652 | 3.0761
651 | 3.0512
650 | 3.0286
649 | 3.008
648 | 2.986
647 | 2.9645
646 | 2.9407
645 | 2.9203
644 | 2.899
643 | 2.8742
642 | 2.8504
641 | 2.8305
640 | 2.8105
639 | 2.7861
638 | 2.7667
637 | 2.7463
636 | 2.723
635 | 2.6978
634 | 2.6758
633 | 2.6536
632 | 2.6307
631 | 2.6098
630 | 2.5875
629 | 2.5656
628 | 2.5441
627 | 2.5207
626 | 2.5007
625 | 2.4783
624 | 2.4579
623 | 2.4333
622 | 2.4125
621 | 2.3931
620 | 2.3675
619 | 2.3449
618 | 2.3241
617 | 2.3051
616 | 2.2832
615 | 2.2604
614 | 2.2392
613 | 2.2193
612 | 2.1992
611 | 2.1718
610 | 2.1534
609 | 2.1326
608 | 2.1123
607 | 2.0892
606 | 2.0707
605 | 2.0489
604 | 2.0262
603 | 2.0066
602 | 1.9856
601 | 1.9683
600 | 1.9447
599 | 1.9223
598 | 1.9013
597 | 1.883
596 | 1.8602
595 | 1.8392
594 | 1.8192
593 | 1.7989
592 | 1.7779
591 | 1.758
590 | 1.7381
589 | 1.7177
588 | 1.697
587 | 1.6794
586 | 1.6577
585 | 1.6409
584 | 1.6194
583 | 1.5996
582 | 1.5783
581 | 1.5599
580 | 1.5415
579 | 1.522
578 | 1.5051
577 | 1.4873
576 | 1.4698
575 | 1.4483
574 | 1.4297
573 | 1.4136
572 | 1.3924
571 | 1.3749
570 | 1.3563
569 | 1.3384
568 | 1.3219
567 | 1.3022
566 | 1.2866
565 | 1.2647
564 | 1.2517
563 | 1.2345
562 | 1.2182
561 | 1.2012
560 | 1.1827
559 | 1.1666
558 | 1.1519
557 | 1.134
556 | 1.1166
555 | 1.1031
554 | 1.0856
553 | 1.0692
552 | 1.056
551 | 1.0396
550 | 1.0224
549 | 1.0103
548 | 0.99391
547 | 0.97854
546 | 0.96699
545 | 0.94834
544 | 0.93579
543 | 0.92142
542 | 0.90794
541 | 0.89379
540 | 0.87963
539 | 0.86817
538 | 0.85397
537 | 0.84182
536 | 0.82688
535 | 0.81393
534 | 0.80149
533 | 0.78952
532 | 0.78035
531 | 0.76551
530 | 0.75349
529 | 0.74272
528 | 0.73032
527 | 0.71968
526 | 0.7066
525 | 0.69884
524 | 0.68642
523 | 0.6761
522 | 0.66617
521 | 0.65549
520 | 0.64473
519 | 0.63529
518 | 0.62592
517 | 0.61744
516 | 0.60872
515 | 0.59887
514 | 0.58965
513 | 0.58215
512 | 0.57277
511 | 0.56466
510 | 0.55659
509 | 0.54871
508 | 0.5418
507 | 0.5334
506 | 0.52603
505 | 0.51819
504 | 0.51101
503 | 0.50452
502 | 0.49795
501 | 0.49189
500 | 0.48426
499 | 0.47915
498 | 0.47411
497 | 0.46866
496 | 0.46211
495 | 0.45436
494 | 0.45043
493 | 0.4452
492 | 0.44016
491 | 0.43735
490 | 0.43398
489 | 0.42916
488 | 0.42059
487 | 0.41619
486 | 0.41643
485 | 0.4099
484 | 0.40651
483 | 0.40366
482 | 0.39884
481 | 0.39474
480 | 0.39296
479 | 0.39004
478 | 0.38703
477 | 0.38465
476 | 0.38261
475 | 0.37938
474 | 0.3775
473 | 0.37437
472 | 0.37185
471 | 0.37216
470 | 0.37015
469 | 0.36645
468 | 0.36536
467 | 0.36339
466 | 0.36015
465 | 0.3593
464 | 0.35859
463 | 0.35775
462 | 0.35499
461 | 0.35571
460 | 0.35499
459 | 0.35259
458 | 0.35086
457 | 0.3483
456 | 0.34856
455 | 0.34647
454 | 0.34652
453 | 0.34381
452 | 0.34526
451 | 0.34555
450 | 0.34056
449 | 0.33963
448 | 0.33644
447 | 0.3354
446 | 0.33547
445 | 0.3374
444 | 0.33681
443 | 0.33382
442 | 0.33114
441 | 0.32783
440 | 0.32761
439 | 0.32512
438 | 0.32488
437 | 0.32489
436 | 0.32446
435 | 0.32297
434 | 0.32133
433 | 0.31692
432 | 0.31257
431 | 0.30736
430 | 0.30428
429 | 0.30582
428 | 0.30307
427 | 0.30096
426 | 0.29728
425 | 0.29316
424 | 0.28893
423 | 0.28341
422 | 0.28339
421 | 0.27999
420 | 0.27436
419 | 0.26915
418 | 0.2638
417 | 0.26105
416 | 0.25806
415 | 0.25431
414 | 0.2501
413 | 0.24382
412 | 0.23527
411 | 0.22875
410 | 0.22758
409 | 0.22221
408 | 0.21639
407 | 0.21401
406 | 0.21057
405 | 0.19794
404 | 0.19163
403 | 0.18312
402 | 0.17467
401 | 0.17142
400 | 0.16352
399 | 0.15996
398 | 0.15639
397 | 0.15074
396 | 0.13896
395 | 0.1249
394 | 0.11926
393 | 0.12044
392 | 0.12078
391 | 0.10896
390 | 0.10462
389 | 0.10027
388 | 0.094928
387 | 0.092457
386 | 0.082904
385 | 0.073307
384 | 0.067041
383 | 0.071215
382 | 0.062677
381 | 0.063377
380 | 0.06114
379 | 0.054917
378 | 0.04705
377 | 0.009098
376 | 0.032339
375 | 0.058896
374 | 0.069976
373 | 0.081791
372 | 0.088687
371 | 0.092426
370 | 0.08319
369 | 0.11645
368 | 0.11564
367 | 0.11737
366 | 0.1416
365 | 0.17606
364 | 0.18914
363 | 0.18949
362 | 0.22086
361 | 0.23641
360 | 0.27638
359 | 0.30312
358 | 0.33759
357 | 0.38694
356 | 0.41761
355 | 0.45247
354 | 0.50833
353 | 0.55815
352 | 0.60847
351 | 0.66149
350 | 0.72743
349 | 0.77409
348 | 0.84344
347 | 0.90369
346 | 0.98502
345 | 1.0845
344 | 1.1657
343 | 1.2815
342 | 1.3644
341 | 1.4559
340 | 1.553
339 | 1.6702
338 | 1.7787
337 | 1.9326
336 | 2.0717
335 | 2.1753
334 | 2.3516
333 | 2.4876
332 | 2.6534
331 | 2.824
330 | 2.9952
329 | 3.1957
328 | 3.3571
327 | 3.603
326 | 3.8005
325 | 3.9959
324 | 4.2209
323 | 4.3983
322 | 4.6849
321 | 4.9748
320 | 5.2358